## Slide 1: Bart Fire alarm replacement
By : Fady Sedeek

## Slide 2
Main Contractor.
Location: San Francisco

## Slide 3: SCOPE OF WORK

## Slide 4: A10 - LAKE MERRITT STATION
A30 – COLISEUMS STATION

## Slide 5: A40 – SAN LEANDRO STATION
C40 -WALNUT CREEK STATION

## Slide 6: M20 – MONTOGOMERY STATION
R20 – BERKELEY STATION

## Slide 7: Fire Alarm System components.
Control Panel
Detectors
Notification appliances
Pipes and Cables.
Pull Station or Call Point

## Slide 8: Control Panel

## Slide 9: Control Panel
The Fire Alarm Control Panel (FACP) monitors and controls all functions of the fire alarm system. It receives input from initiation devices like a manual pull station or smoke detector, and controls output for notification devices like a horn or strobe, which notify facility staff and other people in the building that the fire alarm system has detected a fire, smoky condition or system problem.

## Slide 10: Detector
Heat Detector
Smoke Detector

## Slide 11: Detector

## Slide 12: Detector

## Slide 13: Detector

## Slide 14: Detector

## Slide 15: Detector

## Slide 16: Detector
Rate Of Rise Heat Detector

## Slide 17: Detector
Rate Of Rise Heat Detector

## Slide 18: Pull Station or Call Point
Manual fire alarm activation requires human intervention, as distinct from automatic fire alarm activation such as that provided through the use of heat detectors and smoke detectors. It is, however, possible for call points/pull stations to be used in conjunction with automatic detection as part of an overall fire detection and alarm system.

## Slide 19: Notification appliances

## Slide 20: Pipes and Cables

## Slide 21: Drawings

## Slide 22: Drawings

## Slide 23: Drawings

## Slide 24: Drawings

## Slide 25: Construction Sequence
1. Rough-in (Conduits and Boxes)
3. Trim out ( Pull Wire)
4. Wall Finishes
4. Ceiling Paint
5. Fire Alarm Devices
6. FACU
7. Programming & Testing.
1. Rough-in (Conduits and Boxes)
2. Trim out ( Pull Wire)
3. Ceiling Rough-in(Accessories and studs)
Ceiling
Wall
2. Plaster.
5. Fire Alarm Devices
6. FACU
7. Programming & Testing.

## Slide 26: Electrical systems breakdown

## Slide 27: Electrical systems diagram

## Slide 28: Bart Project WBS

## Slide 29
Thank you